## Slide 1: uLTRASOUND
www.mmheme.org

## Slide 2: PoCUS?
Specific training and credentialing is required for the use of ultrasound in ED.
In general the use of point of care ultrasound (PoCUS) in ED is in a focused fashion:
That is it is utilised in a specific defined clinical setting to recognise a narrow list of potential diagnoses. Ideally this should answer a binary question ie. is there a pericardial effusion?
Further advanced training and qualification may allow the user to perform further limited studies or rarely a specific comprehensive study.

## Slide 3
Bio effects and safety
ALARA principles

## Slide 4: Documentation
ED Ultrasound (intranet)
https://cmhealth.hanz.health.nz/Emergency%20Department/WBDIPN/Pages/EDUltrasound.aspx

## Slide 5: Qpath
Cloud Storage system
Logins
How to use and manipulate
How to complete QA submission

## Slide 6: Machine Care

## Slide 7: Machine Infection Control
PROBE COVERS
Sterile probe cover and sterile gel are required in any circumstance of:
Any needle guided procedure
Any external scan in presence of non-intact skin, or blood/body fluid contamination

## Slide 8
DISINFECTION- LLD and HLD
Low Level Disinfection (LLD) before and after all scans should be undertaken with disinfectant wipes (not with alcohol or virkon based wipes):
High Level Disinfection (HLD) should occur if any breech in probe cover occurs or contact of the probe with any bodily fluid:
HLD is carried out using the ED based Trophon device which utilises Hydrogen Peroxide for a high level sterilisation.

## Slide 9: Basic Ultrasound Principles

## Slide 11: Ultrasound Tissue Interaction

## Slide 12: Attenuation

## Slide 13: Reflection

## Slide 15: Scattering

## Slide 19: Pulsed Ultrasound Principles

## Slide 25: Principle of Image Formation

## Slide 27: Transducers – Piezoelectric Effect

## Slide 30: Beamwidth, Focusing and Lateral Resolution

## Slide 32: RESOLUTION

## Slide 35: To achieve the best axial resolution

## Slide 40: ARTIFACTS

## Slide 42: Attenuation Artifacts

## Slide 48: Depth Artifacts

## Slide 55: Beamwidth Artifacts

## Slide 65: KNOBOLOGY

## Slide 66
DEPTH
Ensure your depth is adequate and the area of interest in your image is optimised. Generally starting with a slightly deeper field of view and then reducing the depth is a practical way to ensure you don’t miss anything of interest (e.g. pericardial effusion in cardiac Parasternal-Long-Axis view)
Reducing depth:
  Improves image resolution
  Makes the area of interest physically easier for you to visualise
  Helps make any measurements more accurate
A general rule is that the area of interest should take up about 80% of your screen

## Slide 67
GAIN and time gain compensation(TGC)
Gain effectively changes the brightness of the image. It is a pre-processing function amplifying the received transducer signals. It does not affect power output from the probe, as such there is no change in intensity of tissue exposure for the patient.
Depending on the particular machine the gain can be adjusted in different ways:
Overall GAIN
Near and Far-field GAIN (Sonosite X-Porte)
Time Gain Compensation (TGC)

## Slide 68
Overall GAIN should be adjusted so that grey-scale image contrast resolution is optimal giving a smooth echotexture:
Under-gained the image will be too black
Over-gained the image will be too white
Excessive gain can result in loss of subtle differences in echo texture, and also increased artifactual echoes.

## Slide 70
TGC function changes the gain at varying depths in the field of view.
Typically this utilised to increase the receive amplification for weak echoes from depth, and reduce those from strong unwanted echoes that are usually from superficial structures or strong reflectors.
It can also be used to reduce posterior acoustic enhancement deep to fluid filled structures

## Slide 72
FOCUS
The focus is where the ultrasound beam is at its narrowest and the best spatial resolution will occur:
Some machines have auto focus whilst others will allow the user to manipulate the focal depth. The focus is usually indicated by an arrow or triangle marker on the left of the screen.
The focus should be placed at the depth of interest in the image, or just deep to it:
  spatial resolution will be maximised
  improved image clarity
  more accurate caliper measurements

## Slide 74
ZOOM
Write zoom (pre-processing function):
The write zoom is a dynamic function that allows the user to select an area of interest within the image and zoom in.
Enlarges small areas of interest e.g. early pregnancy
Makes it easier to measure small luminal distances e.g. CBD
  Image resolution is maintained
  Improved frame rate as reduced number of lines of sight

## Slide 75: Othe Important Topics
PROBECRAFT
BIOEFFECTS AND SFAETY
LABELLING AND DOCUMENTATION